## Data
Inventory ID | Description | Qty. On Hand | Qty. Purchase Orders
100-3237 | 3520 Turbo Oil Line Grommet | 4 | 0
EL-35 | 12" Wire Ties Part #94611 100pk | 100 | 0
131-5496 | 3516 /3520 Aftercooler plate gasket | 2 | 0
EL-28 | DTP06-4S & WP-4S | 10 | 0
SS-50 | Grey Primer paint #1509176 | 3 | 0
EL-147 | BUSSMAN GLASS FUSE 2 AMP # MDL-2/4XH59 | 5 | 0
247-8545 | MAIN FUEL LINE GASKET 3520 | 2 | 0
497-3911 | Gasket (Replaces 8n-9885) | 4 | 0
SS-133 | Solvent Cleaner (Sites # 80751) (Oakfield-80714) | 3 | 0
7L-6443 | bolt 3520 #14112 | 6 | 0
2G-6303 | 3516/3520 Prelube Tube Seal | 1 | 0
PM-48 | Safety Yellow Paint 1 Gal #245479 | 3 | 0
6V-3966 | Nipple | 6 | 0
SS-121 | Simple Green #22C612- 55 gal Drum | 55 | 0
205-9470 | 3520 EEK Control Flex Mount | 4 | 0
5S-0003 | 3516 and 3520 nut | 4 | 0
4W-0531 | Water line retaining ring 3516/3520 | 2 | 0
AE01 | Apex Oil Sample Kit w Particle Count 10/pack | 35 | 0
204-6708 | Aux Water Regulator. Temp-60deg C | 2 | 0
EL-46 | 3M 35-Orange electrical tape/29418 - G0154515 | 2 | 0
9L-7373 | HIGH TEMP BOLT 3520 | 18 | 0
FL-40 | Millersville Roof HVAC Filters #102-701-019 | 16 | 0
EL-06 | DT04-6P 6 pin 18-22 socket | 10 | 0
235-5751 | 3520 Raptor Tube Gasket Large side | 4 | 0
219-3240 | 3520 Aux Water Regs 86F 30C | 4 | 0
EP-01W | Champion FB77WW Spark Plug | 99 | 0
336-3847 | 3520 Exhaust Elbow Long (Right/Odd) | 1 | 0
7N-3368 | Water line gasket 3516/20 see cover # 7N-3297 | 6 | 0
391-8338 | 3520 Main Harness(replaces 228-4144) | 2 | 0
264-0519 | 3520 Tube Asy. LH Water | 1 | 0
5N-8980 | air starter valve | 2 | 0
EL-140 | BUSSMAN LOW PEAK MIDGET FUSE 15 AMP #LP-CC-15/1CX48 | 15 | 0
SS-33 | CH4 calibration gas 50/35 | 0 | 0
9U-7511 | Seat cleaner 3516/20 | 2 | 0
PM-05C | 3520 Rad Bearing-Dodge #126194 2-7/16" | 4 | 0
1Y-7578 | Cover Gasket for 10r-6347 Small Square Outside | 2 | 0
436-1478 | Front Main Seal replaces #113-8432 | 2 | 0
226-7485 | 3520 turbo inlet gasket | 2 | 0
SS-22 | Loctite (242-31) Thread locker #1143592 50ml | 2 | 0
10R-8663 | Reman Raptor Valve (236-1123 new) | 1 | 0
348-8398 | GD 3520 Pre Lube Pump Asy. | 1 | 0
SS-115 | Glove PVC #2WTN6/NF118 Med - G0050766 | 2 | 0
EL-40 | 0462-203-12141 12-14 female socket | 10 | 0
122-8856 | 3520 water manifold gasket | 4 | 0
MCB3550765IES | 3520 CCO Top End Gasket Kit | 1 | 0
363-7918 | Water Cooled Throttle Adaptor Cross | 1 | 0
592-3072 | 3520 Thermocoupler Square End | 9 | 1
360-0798 | Exhaust Bolt 3/8-16 x5.75"- HB286006C092 | 43 | 0
149-6031 | Main Bearing-CAT | 7 | 0
7N-2405 | Connecting Rod Bolt 4 per rod | 20 | 0
111-4374 | Valve As Lin | 1 | 0
310600 | 6" Bray Lug style GSOV (31-0600-11011-392) | 1 | 0
261-6847 | 3520 Thermocoupler Adaptor (337-6970) | 10 | 0
PM-03 | Fan belt #A71 | 2 | 0
5N-1940 | Water Line gasket(350-9494 flange) | 2 | 0
298-3817 | rectifier for 3520 replaces 110-4422 & 4p-6009 | 1 | 0
9S-4182 | Plug o-ring 3516/20 | 4 | 0
EL-113 | 1/4" Sutd 6 AWG Tru-Crimp CAlbe Lug #16220 | 10 | 0
238-5081 | seal or ing replaces 353-5133 | 4 | 0
6V-1903 | turbo oil drain line gasket 3520 | 4 | 0
SS-18 | 3" bristle disc GRIT 50 50048011187341/ #56538 | 18 | 0
SS-103 | Blower oil Summit Syngear 7220 | 6 | 0
SS-67 | Pipe Thread Sealant #4UK03 - G2602555 | 1 | 0
5P-7818 | Oil pan O-ring 3516/3520 | 4 | 0
136-7227 | Seal O Ring (replaces 6V-4589) | 9 | 0
EL-05 | DT06-6S 6 pin 18-22 recp. | 10 | 0
PM-88 | Vent Fan Belt #2GBBX62 | 9 | 0
449-9665 | JW Sensor replaces 276-6793 | 2 | 0
332-8083 | 3520 rocker shaft-Old P/N 201-8290 | 5 | 0
FL-09A | Glycol Filter 10 micron #PX10-19 1/2(1193042)20pk | 28 | 0
SS-142 | Bead Blaster- WindowLayer (2 pack) # 3JT13 | 1 | 0
7N-1961 | Head bolt 3516/3520 #XC1236L01 | 10 | 0
8S-2332 | 3520 throttle valve 12 point bolts 5/8" | 9 | 0
8C-6866 | connector for jacket water pump hose#195-4403 3520 | 1 | 0
487-8579 | WC Throttle Flex Hose-short | 1 | 0
261-7955 | 3520 S Curve Elbow. Mates to 236-5191-6V-5066 Seal | 1 | 0
9S-9635 | Water Pipe Coupling | 1 | 0
PM-04 | Fan belt #BX50 | 2 | 0
1B-2790 | 3520 CAP SCREW | 20 | 0
9Y-6893 | Aux water line gasket 3516 | 4 | 0
6V-3093 | Timing Calibration Tool Adaptor | 0 | 0
EP-28 | Kaeser Seal #890173- #72X100X10ADL VITON | 1 | 0
276-0741 | Deck Oil Dowel Plug .25" | 50 | 0
EL-39 | DTP06-2S 10-12 recp. | 9 | 0
SS-62 | Dust mask #3KP43 (3M-8210) | 20 | 0
9X-7538 | 16/20 water line seal (Rubber) | 8 | 0
SS-52 | Air tool oil #97652 | 1 | 0
358-0768 | Rocker Arm Screw(replacing 200-2003) | 48 | 0
6V-5054 | fuel line o-ring 3516/3520 | 5 | 0
111-1324 | E Stop Switch Block Contact | 1 | 0
4W-6682 | Push Rod 3516/3520 | 10 | 0
SS-41 | Spray adhesive HI STRENGTH 90 #306-11095 - G2031626 | 2 | 0
7W-2221 | Piston ring 3516/3520-Oil 5mm | 11 | 0
326-8855 | Clamshell Fuse Holder Old# 158-6178 | 2 | 0
310-3954 | Seal O-Ring | 2 | 0
127-4422 | Front LH Lower Cover gasket-3520 | 2 | 0
EP-59 | 3520 Rad Fan Shaft 2.4375 x 44 see notes | 1 | 0
8N-4707 | Liner filler band(replaced by 352-6061) | 4 | 0
3J-1907 | Aux. Water Pump Plug O-ring 3520 | 4 | 0
163-8523 | 3520 oil pressure sensor | 3 | 0
SS-18A | 3" BRISTLE DISC 120 GRIT 50048011187372 | 20 | 0
1W-1564 | 3516/3520 Oil Screen | 1 | 0
2W-4006 | retainer | 2 | 0
109-2332 | Oil line o-ring (3516 &3520) | 6 | 0
EL-10 | nylon12-10 ga 8 stud fork con. #93071/50pk | 22 | 0
6V-7351 | oil drain cover seal 3520 | 7 | 0
N4294-236192H | FOD Cam Cover No Bump (N4294/775275/1NB) | 32 | 0
8T-2929 | Seal | 8 | 0
418-4163 | Thermostat-Regulator - Opens 178-183F - Fully Open 198F | 2 | 0
EL-27 | DTP04-4P | 10 | 0
207-8498 | 35 amp junction box breaker 3520 | 1 | 0
4B-8407 | Oil cooler gasket 3516/3520 | 2 | 0
SS-46 | Metal Cutting oil #82288 | 3 | 0
264-5140 | bellow assembly 3520 | 1 | 1
200-6547 | intake manifold gasket | 4 | 0
247-8503 | 3520 Tube As | 1 | 0
EL-145 | BUSSMAN MIDGET FUSE 20 AMP # FNQ-20/4XC62 | 5 | 0
388-2514 | CCV Rubber Tee old # 217-6692 | 3 | 0
6V-4605 | Locknut 3520 | 8 | 0
SS-34A | Ear Muffs -#118-27293/QM24 | 2 | 0
BV-03 | 1/2" BRASS BALL VALVE #BV4103-D/63136 - 4205168 | 4 | 0
6V-9769 | Water manifold tube o-ring (part of head gasket kit) 3516/2 | 45 | 0
EL-57 | Battery Terminals-2/0 Gauge, Straight Barrel #99918 | 2 | 0
223-6361 | Piston Ring 3520 Oil Ring- Cuff Liner 4mm | 2 | 0
8N-1991 | oil line retainer 3516/20 | 2 | 0
EL-44 | Scotch 130C- 3/4 x 30 ft (2A459) Elec. Tape G3202805 | 2 | 0
276-8180 | 3520 Rocker Box GC-119 | 2 | 0
PM-318 | 2-318 Viton o-ring for 3520 aftercooler | 4 | 0
SS-06B | 600 grit sand paper (2D728) - G2242177 | 1 | 0
4C-8637 | grinding disc (old SS-07) | 9 | 21
130-8299 | 3520 mainifold air/engine oil temp sensor | 2 | 0
SS-53 | High Temp Anti Seize Copper (Zoro G9712254 - Grainger 23YA27 | 1 | 0
6V-5066 | Water line o-ring 3516/3520 | 5 | 0
247-7133 | Oil regulator 208deg F replaces 122-3821 | 2 | 0
SS-42 | Penetrating Oil (Kimball # 80744) | 12 | 0
EL-144 | BUSSMAN MIDGET FUSE 2 AMP # FNQ-2/4XC50 | 5 | 0
2J-0157 | Rocker box O-ring (in head gasket kit) 3520 | 12 | 0
7U-4892 | ECM Screw | 16 | 0
437-7369 | WC Throttle Steel Braided-Repl.364-1911 | 1 | 0
SS-31 | Lubriplate #105 Asy Grease (L0034-094) | 6 | 0
227-9011 | 3520 Turbo Bellow Gasket | 4 | 0
8N-7296 | Wrist Pin Retainer Clip | 6 | 0
6V-3908 | Oil pump o-ring 3516/3520 | 4 | 0
3J-9196 | Rocker Arm nut 3516/3520 | 38 | 0
165-3928 | Bolt - Oil Pump (replaces 0S-1588) | 4 | 0
7J-0204 | o ring for 3520 water pump | 4 | 0
EL-56 | 2/0 Pos Tuff-Crimp 100 Battery Terminal #41421 | 2 | 0
CP-05 | Quincy Fluid Analysis Kit #128515 | 8 | 0
SS-96 | Lens Cleaning SF10357 8574GM - G2911772 | 1 | 0
239-1038 | FUEL LINE GASKET | 7 | 0
125-0200 | Aluminum camshaft tool 12" x 3.62" dia | 1 | 0
5H-6734 | Main water pump o-ring 3516/3520 | 5 | 0
7X-0818 | 311-3212 Bolt(4) M8 x 1.25x 45mm | 8 | 0
CGQ-34 | Gas Monitor Cal Gas 34L | 1 | 0
9H-0846 | generator coupling o ring | 2 | 0
7N-4782 | Cam Follower Spring | 50 | 0
235-5537 | 3516/3520 Fuel Pipe Line Gasket | 5 | 0
136-7226 | 3520 turbo oil line oring | 4 | 0
EL-04A | W4P | 10 | 0
EL-232 | Shark 200 Meter (200-60-10-V1-D-20mAOS-INP100S-X) | 1 | 0
308-1380BJE | Blackjack Ign Transformer(#25717) | 3 | 0
207-1742 | 3520 core assembly flame arrestor | 1 | 0
155-8755 | 10amp Fuse-Dghouse see 326-8855 mate | 2 | 0
EL-138 | BUSSMAN LOW PEAK MIDGET FUSE 5 AMP #LP-CC-5/1CX61 | 5 | 0
9Y-8069 | Aux water line gasket 3516/20 | 7 | 0
227811982 | CHEVRON ELC 50/50 - 55 Gallon Drum | 438 | 0
110-4422 | neg. rectifier # M50100THA1600 | 2 | 0
9S-9334 | 3516 and 3520 plug #36405 | 2 | 0
242-1532 | JW short Hose 3520 | 1 | 0
6V-9000 | elbow connector 3520 | 1 | 0
GC-120 | 3520 Cyilinder Shop Head | 5 | 0
522-1642 | 3516/3520 Speed Sensor - replaces 265-9034 | 2 | 0
SS-118 | Oil Absorb. Pillows #5TR23 4PK/ SPC818 10PK | 4 | 0
EL-48 | 3M 35-green electrical tape/29417 - G0154497 | 2 | 0
197-8120 | 3520 throttle gas line gasket (old throttle style) | 3 | 0
6B-0933 | Spacer | 4 | 0
4K-1388 | 3520 Oring water tube | 2 | 0
EL-38A | WP-2P | 10 | 0
5P-8210 | Block cover o-ring | 8 | 0
9X-7523 | Water line seal | 5 | 0
PM-89 | Rad Fan Belt #3VX1250 | 0 | 12
SS-49 | Gloss black paint #1509224 | 12 | 0
7N-2046 | Liner o-ring | 6 | 0
SS-143 | Electrical Degreaser CRC 20oz # 3EEE2 | 12 | 2
6V-5051 | Oil line o-ring 3516/3520 | 2 | 0
9Y-8387 | oil line gasket 3516/20 | 12 | 0
7M-8485 | oil line o-ring | 6 | 0
310-3953 | Seal O-Ring (replaces 5P-5700) | 10 | 0
6I-1418 | 3520 ECM Control Mount Sleeve (10R-8111) | 8 | 0
EL-63 | Heat-Shrink end cap 3.94" Grainger - 33VE74 | 6 | 0
153-5720 | CAT Engine Battery 1500 CCA (EP-06) | 4 | 0
5M-2894 | washer for double aftercooler 3516 and 3520 | 10 | 0
COOLKIT-P | Polaris Coolant Sample Bottle (Test C9) | 8 | 0
10R-5416 | 3520 Reman Arm(201-8301 new) Long | 4 | 0
PM-350 | 3200 large gasket for 3520 aftercooler | 4 | 0
2W-4005 | water line retaining o-ring 3520 | 7 | 0
221-9566 | 3520 ignition harness LH | 1 | 0
9M-2092 | cover o-ring 3520 | 4 | 0
6V-1454 | Water line o-ring 3516/3520 | 2 | 2
4H-7655 | 3520 Turbo Flex Line Clamp | 8 | 0
2W-0752 | Oil fill, crankcase breather gasket | 4 | 0
7X-0409 | high temp bolt for turbo turbine 3520 | 12 | 0
EL-03A | W4S | 10 | 0
SS-16 | 1" bristle disc 50048011186986 #59602 | 24 | 0
6V-5778 | turbo bypass orings (2 needed) air pipe | 2 | 0
FL-12A | 3520 Oil Filter(275-2604) #B7299 | 36 | 2
187-7738 | 7N-1961 Bolt washer-hard | 17 | 0
8C-8491 | SS Washer for #244-8861 (#11101296) | 86 | 2
8C-5196 | water riser tube o ring (part of head gasket kit) 3520 | 42 | 0
EL-136 | BUSSMAN 5 AMP FUSE # ATC-5/1BZ40 | 5 | 0
224-0830 | 3520 water tube with 4 bolt plate | 1 | 0
1W-2430 | Exhaust by-pass manifold clamp (3516 &3520) | 2 | 0
512-6201 | 3520 Transformer (old P/N 438-5682) | 6 | 0
EP-26 | Air Starter T112-60031-01R-1-03 | 1 | 0
423-9868 | 3520 Oil Cooler OR #311-7484 | 1 | 0
PM-326 | 2-326 viton o-ring for 3520 aftercooler | 4 | 0
SS-09 | 2" 80 grit flap wheel #64698 | 11 | 0
249-0059 | 3520C Inner Generator Coupling | 1 | 0
235-3546 | oil pump adapter plate seal (279-3342) | 12 | 0
6V-5134 | turbo oil drain line o-ring 3520 | 3 | 3
5P-0840 | Seal-O-Ring (part of head gasket kit) 3516/3520 | 8 | 0
441-4414 | 3520 Exhaust Manifold-Universal | 3 | 0
EL-148A | BUSSMAN GLASS FUSE 10 AMP # AGC-10 | 10 | 0
4W-3100 | Thermostat housing gasket 3516/3520 | 3 | 0
SS-125 | Brown Jersey Gloves Lg. - Dival (750) | 94 | 0
4P-3452 | oil line gasket 3520 | 2 | 0
EL-61 | Heat-Shrink End Cap 1.57" #72855K51 | 6 | 0
CP-13 | Quincy QuinSyn Plus 5 gal pail | 15 | 0
8N-3640 | water line retainer 3516/20 | 2 | 0
204-9736 | 3520 Aux Oil Hose | 2 | 0
7X-7925 | 3516/3520 Main Cap Bolt 7/8"x14 x 11" | 2 | 0
259-4598 | 3520 Oring replaces 235-3548 | 16 | 0
5P-8872 | oil pan o ring 3516/3520 (PM349) | 6 | 0
10R-3138 | Cat Reman Lifter Assy.( 346-7515) | 20 | 0
355-0765IES | 3520 Head Gasket Kit (Corrected Qtys) | 20 | 0
7X-1414 | CABLE A | 2 | 0
344-2461 | 3520 Turbo Bellow | 1 | 0
272-0758 | Cam Cover Seal Replaces #208-2362 3516/3520 | 5 | 5
219-7000 | 3520 CAT Only seal 2-129-v575 | 2 | 0
EL-24 | 3M SCOTCH 2510 TAPE #88175890 3/4" x 36yd | 2 | 0
8T-1919 | water line o-ring 3516/20 | 14 | 0
248-5513 | 3516 Oil Temp Regulator 198deg F | 1 | 0
EL-224 | OIP IC755CSS12CDB 12" Touchscreen see notes | 1 | 0
EL-142 | BUSSMAN MIDGET FUSE 1 AMP # FNQ-1/4XC48 | 5 | 0
SS-37 | WypAll Rags 41055/DN5310 Lawson#29372 | 2 | 0
155-1536 | CAT Valve Adjustment Set | 1 | 0
SS-13 | 1/2 Teflon Tape G4779527 - #3PDL5 | 2 | 0
1B-7182 | Bolt | 3 | 0
EL-132 | Deutsch for 20-24 awg wire # 0411-240-2005 | 2 | 0
323-5836 | Plate orifice | 1 | 0
226-9653 | 3520 adaptor fitting for 149-5150 | 1 | 0
SS-12 | 2 1/2x1 1/4 coarse wheel #57476 /5005114480679 | 8 | 0
349-5691 | 3520 Sensor Buffer sensor 349-5691 | 1 | 0
277-5833 | 3520 cam cover o ring replaces 220-7191 | 4 | 6
8N-1234 | Piston Ring 3516/3520 Intermediate | 2 | 0
30516 | Loctite Brush-Aviation Gasket Sealant -1522029 | 2 | 0
162-6466 | 12 pt bolt | 8 | 0
204-3506 | 3520 air manifold gasket (part of head gasket kit) | 5 | 0
EL-42 | DT04-2P 18-22 socket | 10 | 0
5P-8248 | Washer #33803 | 6 | 0
255-6466 | Joint Assmbly/By-Pass Seal 3520 | 3 | 0
SS-72 | Zep Brake Flush | 2 | 0
1U-5715 | Spark plug insert socket | 2 | 0
SS-10 | 2" coarse conditioning discs 04801105528/ #95710 | 25 | 0
FL-41 | Vent Fan Filter Material #2GGJ2 84" X 90ft | 1 | 0
3S-9643 | Jacket water thermostat seal 3516/3520 | 10 | 0
7E-2326 | 3520 turbo seal ring | 2 | 0
030-7949 | Elbow #S3649-10 replaces 353-5133 | 4 | 0
2N-0931 | jacket water manifold gasket 3516/3520 | 3 | 0
9X-2068 | Hi Temp Bolt 3/8 - 16 x 3.5 #77117 | 16 | 0
111-1349 | Relief valve gaskets | 2 | 0
4B-3388 | 3516 Carb Linkage bolt(LES) 3520 turbo line(284-1210) | 8 | 0
BV-11 | 20 PSI Relief Valve 3/4"x1" FNPT #10614-02 | 3 | 0
EL-141 | BUSSMAN LOW PEAK MIDGET FUSE 30AMP #LP-CC-301CX58 | 5 | 0
245-8824 | 3520 JW Heater Hose Main | 1 | 0
6V-4314 | Oil pan o-ring 3516/3520 | 2 | 0
GC-131 | 3520 Reman valve cover | 4 | 0
SS-34 | Ear plugs 117-21672/11003M (WC 3WU33) MAX-1-D | 1 | 0
EP-60 | Murphy Vibration Monitoring Switch (VS2EX) - 20700049 | 1 | 0
2H-3928 | main water pump o ring 3520 | 4 | 0
SS-126 | Kevlar Sleeves 24" #3BC99 | 2 | 0
323-5835 | Plate orifice | 1 | 0
261-5678 | 3520 Man. Press. Sensor Harness(194-6724 switch) | 1 | 0
20R-8847 | 3520 Aux Water Pump (New-527-7377) | 1 | 0
6F-4868 | End plugs gasket | 6 | 0
SS-116 | GLove PVC, #2WTN7/NF119 Large G0050881 | 2 | 0
9Y-6792 | Gateway Spark Plug Gasket-100 PK | 200 | 0
205-0363 | 3520 Tube As | 1 | 0
305-3447 | Exhaust Leg Seal -Replaces 200-6555 | 13 | 7
7X-1695 | DDT Timing Tool Harness. | 0 | 0
5P-8247 | washer 3520 #33802 | 16 | 0
780-301 | Current Transformer (300:5) (TRSCTX5138) | 3 | 0
453-2319 | 3520 spark plug insert (old number 348-2213 | 2 | 0
592-3073 | 3520 Exhaust Stack TC | 2 | 0
339-1554 | 3520 Exhaust temp harness Millers | 1 | 0
EL-03 | DT06-4S 4pin 18-22 recp. | 10 | 0
PM-87 | Gas Cooler Belt #3vx710 | 3 | 0
8F-8858 | rocker arm button | 20 | 0
332-1462 | Seal Replaces 272-2655 | 4 | 0
M2603904 | Spacer Plate-LC Steel | 12 | 0
8S-9191 | Bolt | 4 | 0
BV-04 | 3/4" BRASS BALL VALVE #BV4103-E/63137 | 2 | 0
6V-9808 | 3520 90 degree elbow union aftercooler JIC | 1 | 0
EL-135 | BUSSMAN 3 AMP FUSE #ATC-3/1BZ37 | 5 | 0
383-2982 | SEE 592-3072 | 0 | 0
SS-27 | Overglasses safe glasses #4JND4/A1012UC | 1 | 0
GC-123 | 3520 After Cooler( #236-4256) cleaned | 0 | 0
SS-120 | Dow 111 5.3 oz tube -#45643110 | 1 | 0
1A-9066 | 3516 Block cover gasket | 2 | 0
10R-6347 | 3520 Oil Pump reman 6v-7681/1Y-7578 | 1 | 0
4W-0530 | water line retaining ring 3516/3520 | 2 | 0
298-6387 | seal oring oil pump | 4 | 0
20R-4869 | 3520 Reman Left Front Camshaft Kit w/ 10 Lifters | 0 | 0
EL-45 | 3M 35-Brown electrical tape/29415 - G1111047 | 2 | 0
PM-349 | 2-349 viton o-ring 3520 aftercooler 5P-8872 | 4 | 0
4J-5477 | water line o-ring 3520 | 9 | 0
EL-36 | 15" Wire Ties #94613 (G9791820) 100pk | 100 | 0
033-6031 | crankcase breather o-ring 3516/3520 | 8 | 0
EL-05A | W6P | 10 | 0
235-5749 | GASKET | 2 | 0
6V-6609 | water line o-ring 3516/3520 | 4 | 0
361-8205 | 3520 o ring for turbo oil #5P-3456 | 20 | 0
189-6642 | Heater GP Jacket Water(RTCSM) | 1 | 0
SS-51 | Starting fluid #81030 | 6 | 0
SS-15 | 3" unitized wheel 5004801117191/#58126 | 10 | 0
FL-04 | Crankcase filter #PA-2725 (2W-4246) | 4 | 0
311-3212 | 3520 OTurbo Oil Connection( old #302-5877) | 2 | 0
PM-57 | Oil Pads #GRSB150H/XC61341L01 (order min 2) | 3 | 0
6V-5048 | oil filter housing plug o-ring for 149-5150 3516/3520 | 9 | 0
213-9397 | 3520 seal o-ring | 3 | 0
169-2182 | 3520 jw heater seal | 2 | 0
206-4807 | 3520 harness AS Detionation Sensor | 2 | 0
6V-9027 | water line o-ring 3520 | 5 | 0
CP-11 | Quincy Oil Filter # 128598 | 4 | 0
428-9130 | 3520 Seal (Exhaust) replaces 229-5333 | 4 | 0
513-9041 | 3520 Extension As | 5 | 0
236541412 | CV DELO ELI CORR INH-CON (5GAPPAFC) | 4 | 0
196-0055 | 3520 ET Cable | 2 | 0
5F-9657 | Plug o-ring | 8 | 0
EL-09 | nylon insulated 12-10 ga #94729 /25PK | 25 | 0
9F-8127 | water line gasket 3520 | 6 | 0
8T-2928 | Seal | 8 | 0
FL-26 | Crankcase Filter LES #CEG474/2 | 2 | 0
418-4162 | Thermostat - Regulator - Opens 187-192F Fully open 208F | 8 | 0
207-8497 | 10 amp junction box breaker 3520 | 1 | 0
214-7568 | Intake manifold plug oring-Old# 033-6042 | 6 | 0
MOBIL605 ULTRA | Mobil Pegasus 605 Oil Ultra | 2145 | 0
BV-02 | 3/8" BRASS BALL VALVE BV4103-C/63135 | 2 | 0
EL-133A | Deutsch for 16 awg wire # 0411-310-1605 | 2 | 0
6V-9746 | turbo oil line o-ring 3520 | 25 | 0
GC-119 | 3520 Reman Rocker Box | 4 | 0
241-0119 | 3520 Pre Lube Hose | 2 | 0
10R-5992 | 3520 cylinder pack | 2 | 0
SS-19 | Roloc holder #048011-154084/59672 | 2 | 0
318-8421 | RH Turbo Flex Line to 311-3212(302-5877) | 2 | 0
109-6507 | E Stop Switch | 1 | 0
PM-338 | 3520 aftercooler o-ring | 4 | 0
20R-0505 | 3520 JW Pump(258-8725/349-6213) | 2 | 0
8T-7581 | Rocker Arm Bolt 12 point 3516/20 | 11 | 0
203-7859 | 3520 rocker box gasket (in head gasket kit) | 6 | 0
7E-6016 | Jacket water thermostat housing gasket | 4 | 0
EL-34 | 8" Wire Ties #94610 (G8067580) 100pk | 100 | 0
5P-7817 | oil line o ring 3516/3520 | 4 | 0
EL-27A | WP-4P | 10 | 0
360-9687 | 3520 Air Line Flange gasket | 4 | 0
6V-5101 | air manifold o ring (part of head gasket kit) 3516/3520 | 4 | 0
SS-47 | Belt dressing #19909 | 1 | 0
EL-146 | BUSSMAN GLASS FUSE 1 AMP # MDL-1/4XH57 | 5 | 0
1H-5514 | 3520 BOLT | 6 | 0
8S-2331 | 3516/20 Idler gear bolts | 2 | 0
206-4171 | Short Exhaust Elbow 3520 | 1 | 0
SS-128 | Goggles- Padded Glasses # 22ED39/16408 | 1 | 0
261-7954 | 3520 water line seal (EPDM) | 10 | 0
165-3931 | 3520 Prelube bolt Old#0S-1571 | 2 | 0
3K-0360 | water line o-ring 3516/3520 | 10 | 0
EL-58 | Batt. Conn. Straight Clamp, 2/0awg,#99917 | 2 | 0
8N-1992 | Retainer | 2 | 0
125-1372 | Transformer o-ring (3516 & 3520) | 40 | 0
EL-117 | 500 MCM 2 hole 5/8" #6926K49 | 2 | 0
7X-4805 | Front cover o-ring | 6 | 0
9L-1480 | Oil pan gasket | 5 | 0
4P-7680 | 3520 exhaust spacer | 2 | 0
4C-4613 | CAT Cooling System Cleaner-55 Gallon Drum | 0 | 0
CSC-7000 | JW Recirc Socket Cap 4.5" | 100 | 0
111-1323 | E Stop Switch Block Contact | 1 | 0
244-8861 | 3520 Exhaust Clamp.-New # 200-6556 | 6 | 0
439-0805 | WC Throttle Steel Braided - Replac. 364-1912 | 1 | 0
9U-5023 | J Wrench | 2 | 0
210-9246 | Seal O-Ring (Replaces 8C-0624) | 9 | 0
110-4424A | Rectifier Diode NTE# 2W327 27k ohm 2% | 3 | 0
205-0361 | 3520 Tube As | 1 | 0
SS-11 | 3" conditioning discs 04801105532/ #95712 | 10 | 0
EL-50 | Socket #0462-209-16141 18-22 | 10 | 0
PM-145 | Navy Gray Paint # 245443 (Gallon) | 2 | 0
305-0581 | 3520 Turbo bypass actuator jumper harness | 2 | 0
124-1858 | Seal O-Ring (replaces 061-9456) | 14 | 0
4L-8149 | turbo oil line gasket 3520 | 4 | 0
EL-39A | WP-2S | 10 | 0
CL-01 | Raptor Pipe Seal (NK1000063-C400) | 4 | 0
5P-8245 | hard washer 3520 #33800 | 20 | 0
8L-9241 | turbo inlet o-ring 3520 | 3 | 0
6V-0405 | Seal (Replaces 5R-7137) | 12 | 0
8J-6775 | Seal (washer with rubber insert) | 5 | 5
5P-5846 | Oil line o-ring 3516/3520 | 6 | 0
121-0816 | 3520 Junction Box Isolators | 2 | 0
208-2463 | 3520 PLATE FOR EXHAUST MANIFOLD GP | 1 | 0
EL-149 | BUSSMAN LOW PEAK MIDGET FUSE 20 AMP # LP-CC-20/1CX53 | 5 | 0
SS-48 | New Cat Yellow Spray Paint #1509178 | 12 | 0
156-2603 | M 8 x 1.25 x 25 mm hex hd bolt #40673 | 24 | 0
SS-36 | Glass beads #2W580 GT51441 | 1 | 0
EL-139 | BUSSMAN LOW PEAK MIDGET FUSE-10AMP # LP-CC-10/1CX46 | 13 | 0
6V-4144 | Coupler Assm. | 6 | 0
110-4424 | pos.rectifier #M50100THC1600 | 2 | 0
SS-119 | Kevlar Sleeves 14" # 2AF37 | 2 | 2
095-1674 | upper transformer o ring (part of head gasket kit) 3520 | 50 | 0
20R-6929 | 3520 Turbo Program Assembly | 1 | 0
6D-5801 | Locknut for Junction Box Bracket 8-32 | 16 | 0
EL-49 | Pin #0460-215-16141 18-22 | 31 | 0
259-4600 | Seal O-Ring (replaces 3P-0654) | 7 | 0
305-0580 | harness as for 3520 throttle #313-6079 | 1 | 0
6V-8398 | water line o-ring 3520 | 14 | 0
EL-11 | nylon insulated 12-10 ga 6 stud snap spade #93070/50pk | 25 | 0
SS-71A | I.D. Red 20 Gallon Drum | 20 | 0
9M-1974 | Washer for aux water pump | 47 | 1
192-2262 | JW thermostat manifold gasket (3516 &3520) | 2 | 0
6V-6809 | Wet exhaust manifold o-ring 3516/3520 | 4 | 0
SS-06A | 2"x50YD 320 Grit SR Part #85676A | 1 | 0
9F-7707 | Rocker arm button retainer ring | 6 | 0
7N-4320 | Cam cover gasket 3516/20 | 5 | 0
314-7755 | CDVR Volt. Reg. (3516/20) replaces 235-5725 | 1 | 0
FL-11 | AIR FILTER(105-9741) #PA3633/ P529552 | 2 | 0
172-5635 | 3520 aftercooler o-ring | 4 | 0
6L-7817 | Seal | 2 | 0
207-8496 | 2.5 amp junction box breaker 3520 | 2 | 0
0S-1571 | 3520 Prelube Bolts New#165-3931 | 2 | 0
311-3492 | 3520 Exhaust Elbow Long (Left/Even) | 1 | 0
247-3796 | 3520 Oil Cooler End Cap Gasket | 3 | 0
5P-0076 | 12 point 3/8 16 x 1.5 | 4 | 0
EL-143 | BUSSMAN MIDGET FUSE 1/2 AMP #FNQ-1/24XC47 | 5 | 0
9Y-8388 | oil line gasket 3516/20 | 10 | 0
EL-133 | Deutsch tool for 16 awg wire # 0411-204-1605 | 2 | 0
SS-30 | Chevron SRI Grease (40 pk) SRI 1750C | 2 | 0
SS-122 | WD40 Gallon (20JY66) | 6 | 0
2CJN9 | Adjustable Tic Tracer Stick | 1 | 0
9S-8009 | Turbo plug uses 6V-1903 Seal | 4 | 0
1A-5822 | 1/2-13 x 2.75 bolt. for 236-5201 bracket 3520 | 11 | 0
6V-3348 | aux cover o-ring 3516/3520 | 18 | 0
EL-42A | W2P | 10 | 0
318-8420 | LH Turbo Flex Line to 311-3212(302-5877) | 2 | 0
PM-351 | 3200 small gasket for 3520 aftercooler | 8 | 0
256-4367 | 3516/3520 rocker bridge | 4 | 0
SS-107 | #250-Rags Use Dival 107NP25 | 1 | 0
5P-8249 | Cap Washer for 7X-2925 bolt | 2 | 0
3E-6916 | SS Nut # 1170712 | 42 | 2
273-3967 | Water pump gasket with seal or 136-3246 w/o | 4 | 0
1N-5999 | 3520 aftercooler Small outlet plug(7J-0204) | 4 | 0
3D-2824 | Plug O-ring 3516/3520 | 6 | 0
EL-04 | 4 pin 18-22 socket #DT04-4P | 10 | 0
360-7990 | 3520 WC Throttle Gasket (New Throttle Style) | 2 | 0
107-7330 | Std.Rod bearings- Must Use CAT on New Crank! | 5 | 0
2N-5842 | Valve bridge adjusting screw 3516/3520 | 4 | 0
288-9046 | bellow assembly 3520 REPLACES# 153-4045 | 1 | 0
328-0754 | 3520 Turbo Bypass Act. #1005-0020 | 1 | 0
SS-139 | Gardner Denver Grease 40/14oz # Hp22240 | 9 | 0
185-3162 | hose as 3520 replaces #195-4403 | 1 | 0
PM-02 | Blower belt #5VX850 | 6 | 0
260-0135 | 3516/3520 piston oil cooler | 2 | 0
348-2392 | 3520 New ECM see 10R-8111 replaces 322-3617 | 2 | 0
F-231P-300 | CCV Solberg Filter Element (4pk) | 2 | 0
6V-2197 | Cat Transducer Timing calibration probe | 0 | 0
1U-7616 | Ring compressor | 2 | 0
EL-106 | TC Connector Deutsch # HD14-3-96P | 20 | 0
5P-8068 | oring spark plug tube 3520 | 5 | 0
9L-7712 | Valve bridge adjusting screw nut 3516/20 | 99 | 0
EL-06A | W6S | 10 | 0
362-6537 | 3520 WC Throttle See 465-7592 New | 1 | 0
135-2651 | Transformer seal | 8 | 0
574-8679 | 3520 Detonation Sensor | 0 | 7
336-9992 | 3520 Exhaust Man Seal -Replaces 203-4571 | 20 | 0
6V-5139 | Main water pump o ring 3520 | 2 | 0
264-0520 | 3520 Tube Asy. RH Water | 1 | 0
0R-9953 | 3520 Aux Water Pmp New#488-5894 | 1 | 0
206-5988 | 3520 water manifold seal (part of head gasket kit) | 45 | 0
310-2833 | valve cover 3520 replaces 222-1962 | 1 | 0
226-9652 | buffer for map sensor (adapter ) 3520 | 1 | 0
1W-4188 | Piston Oil Cooler Plate Replaces #8N-9943 | 2 | 0
EL-20 | G2444477 - 33 Super 3/4x66ft black elec tape/54518 | 3 | 0
5M-0330 | oil drain line gasket | 2 | 0
EL-12 | nylon insulated 22-18 ga butt connector #94727/50pk | 25 | 0
240-3425 | 3520 RAPTOR HARNESS | 1 | 0
1A-1460 | BBrk Bolt 1/2"-13 x 2" | 10 | 0
10R-5415 | 3520 Reman Arm (new201-8296) short arm | 5 | 0
296-5820 | valve cover gasket(part of head kit) | 0 | 10
346-5123 | Pre-Chamber Spark Plug CAT 284-8313 | 13 | 0
EL-41 | Deutsch Pin Connecter 0460-204-12141 | 7 | 0
221-9565 | 3520 Ignition harness RH | 1 | 0
WT8551A001MS | Asco Solenoid Valve 24/60 AC | 0 | 1
7N-4945 | Water line gasket 3516/20 | 6 | 0
272-0759 | SIDE COVER SEAL REPLACES #208-2363 3516/3520 | 10 | 0
8L-2786 | Speed sensor o-ring 3520 | 4 | 0
131-3718 | 3520 Compressor by pass o-ring | 3 | 0
EL-25 | 3M SCOTCH 27 glass cloth tape 3/4" 2A457 | 2 | 0
EL-154 | Thyristor CKE BHD199(CK260) #Z660EH6 | 2 | 0
1F-7958 | 3520 Locknut | 32 | 0
SS-131 | PB Blaster # 4LRF8 | 4 | 0
3J-7354 | Cyl Head Water Line ORing #2-904-4490 | 4 | 0
EL-55 | Battery Terminal-2/0 Gauge, Left Elbow #41428 | 2 | 0
9S-4183 | plug o-ring | 2 | 0
EL-114 | 1/2" Stud AWG Tru-Crimp Cable Lug #99876 | 10 | 0
9M-4584 | Connector | 2 | 0
7N-5089 | Flame arrestor gasket 3516/20 | 2 | 0
423-6982 | 3520 spark plug adapter gasket Old 205-9127 | 50 | 0
236-5191 | tube 3520 | 1 | 0
SS-17 | 2" bristle disc 50048011187303/#56537 | 9 | 0
194-6724 | 3520 mani air press sensor (261-5678 harness) | 1 | 1
7X-0575 | SS Washer for clamp #244-8861 3520 | 15 | 0
SS-08 | 4x1 clean-n-strip disc #00048011147840 | 13 | 0
209-1823 | 3520 5" water line gasket(eng side of EP-02) | 2 | 0
269-7885 | Seal O-Ring Replaces 3P-0655 | 6 | 0
EL-28A | WP-4S | 10 | 0
290-4619 | 3520 JW buffer goes with 276-6793 | 2 | 0
265-5221 | 3520 Rh Bottom Water Pipe HAT Series | 1 | 0
200-6553 | cap 3520 | 1 | 0
EL-148 | BUSSMAN GLASS FUSE 3 AMP # MDL-3/4XH61 | 5 | 0
200-6410 | water manifold o ring (3516 & 3520) | 2 | 0
146-7386 | water line gasket 3520 | 2 | 0
EL-137 | BUSSMAN 15 AMP FUSE # ATC-15/1BZ34 | 5 | 0
6V-9846 | 3520 Turbo waterline tee | 2 | 0
227808982 | Chevron Delo ELC AF/Concentrate 55g Dr | 30 | 0
2G-6304 | 3516/3520 Prelube Tube Strainer | 1 | 0
SS-124 | WD40 Sprayer #5A284 - G3090367 | 7 | 0
210-2459 | pre lube hose | 1 | 0
7J-9108 | water line o-ring 3520 | 8 | 0
224-0831 | 3520 water line with 4 bolt plate | 1 | 0
8N-3639 | Water line retainer 3516/20 | 2 | 0
20R-4871 | 3520 Reman Left Rear Camshaft Kit- w/ 10 lifters | 0 | 0
3H-5825 | Bolt | 9 | 0
4N-1320 | water line gasket 3516/3520 | 3 | 0
EL-47 | Yellow Elec. Tape #988175962/29422 - G0154506 | 2 | 0
132-8759 | 3520 lube switch as | 1 | 0
SS-81A | Latex/Nitrile Gloves XL - MK296XL | 2 | 0
527-7377 | 3520 Aux Water Pump (Reman-20R-8847)
8T-4224 | Scat Shield Turbo Line Washer
6K-5290 | Water Line Retaining Tab(6K-5291)
110-6994 | Spacer plates (3516 & 3520)
SS-57 | Bee Spray (6XMH4) (2DCB1) G0718155
20R-7246 | 3520 Throttle Reman (old P/N 20R-3107)
1B-9575 | 3516 rectifier center spacer bolts-notes
308-1380M | 3520 Motortech Extension 06.80.600